TOWN OF NEWBURGH

PLANNING BOARD

TECHNICAL REVIEW COMMENTS

PROJECT:				ALUMIL FABRICATION

PROJECT NO.:			17-30

PROJECT LOCATION:		SECTION 95, BLOCK 1, LOT 67

REVIEW DATE:			9 MARCH 2018

MEETING DATE:			15 MARCH 2018

PROJECT REPRESENTATIVE:	LANC & TULLY ENGINEERS

- The Applicant’s representatives have attended a Technical Work Session to review previous

comments and legal access issues.  Access issues were resolved by review of the

site plan approved in the mid -90’s depicting the current access to the site.

- A dumpster enclosure is proposed to be located on the southwest corner  of the existing

structure.  Dumpster enclosure will contain green privacy slats and have landscape plantings

on the south side.   We would recommend additional bollards be placed internal to the

dumpster enclosure to protect the proposed fence screening.

- Outdoor storage notes have been added to the plans from the town zoning.  These notes

pertain to the outdoor storage area depicted on the south side of the building.  Swing gates

should be revised to open in the opposite directions depicted to prevent the gates from

obstructing two of the parking spaces.  The parking space count labeled as forty-seven (47)

on the south side of the building should be modified to eliminate the spaces within the

outdoor storage area.

Respectfully submitted,

McGoey, Hauser and Edsall

Consulting Engineers, D.P.C.

_________________________

Patrick J. Hines
Principal

PJH/kbw