TOWN OF NEWBURGH

PLANNING BOARD

TECHNICAL REVIEW COMMENTS

PROJECT:				MCDONALDS ROUTE 32-NORTH PLANK ROAD

PROJECT NO.:			17-26

PROJECT LOCATION:		SECTION 76, BLOCK 1, LOT 1.1

REVIEW DATE:			9 MARCH 2018

MEETING DATE:			15 MARCH 2018

PROJECT REPRESENTATIVE:	HARRIS BEACH/BOHLER ENGINEERING- WARREN NJ

- The Applicants have submitted a Stormwater Pollution Prevention Plan for the project

identifying the project will be evaluated as a re-development project due to the decrease in

impervious surfaces proposed during the reconstruction of the facility.  This office finds the

re-development analysis appropriate for the site.  The Stormwater Management Plan for the

site incorporates a proprietary water quality device. The propose proprietary structure meets

NYSDEC requirements as DEC has adapted NJCAT/NJDEP approval for proprietary

products.

- Based on the implementation of a Stormwater Management Plan the site will require a

Stormwater Facilities Maintenance Agreement for long term operation and maintenance of

the stormwater management on the site.

- The site will require an erosion and sediment control inspection fee in the amount of

$2,000.00.

- The project has been revised based on Planning Board and Consultant input to incorporated

sidewalks along the North Plank Road NYSDOT Route 32 frontage.  In addition to the

sidewalk a dry laid stone wall landscape feature has been incorporated to address design

guidelines of parking within front yard setbacks.  The dry laid stone wall encroaches into the

DOT right of way along portions of the frontage.  NYSDOT review and approval of these

features is required.

- Previous comments identified the potential for roadway dedication of those areas within 25

feet of the center line of Gardnertown Road and Gidney Avenue, along the property frontage.

This should be addressed with the Highway Superintendent and Town Attorney as

appropriate.

- Orange County Planning Department referral can be sent at this time since site development

details have been provided.

- Details of the stone wall construction should be added to the plan.

- Previous comments dated 30 October 2017 requested the Stormwater Management Plan

address capacity of the existing stormwater piping under Gidney Avenue.  Existing 12 inch

diameter pipe is identified while a new 18 inch diameter pipe is directed to this existing

stormwater conveyance system.

- Confirmation of coordination with light fixtures to previously approved site plans located east

of this project should be confirmed.  Lighting details should be provided.

Respectfully submitted,

McGoey, Hauser and Edsall

Consulting Engineers, D.P.C.

_________________________

Patrick J. Hines
Principal

PJH/kbw