TOWN OF NEWBURGH

PLANNING BOARD

REVIEW COMMENTS

PROJECT:				SECURE PROPERTY MANAGEMENT

PROJECT NO.:			06-19

PROJECT LOCATION:		SECTION 28, BLOCK 1, LOT 18.2

PROJECT REPRESENTATIVE:	VINCE DOCE ASSOCIATES

REVIEW DATE:			10 FEBRUARY 2012

MEETING DATE:			16 FEBRUARY 2012

1.	The deep hole test pit information should be provided on the plans.

2.	Clearly identify the system as a shallow trench system on Sheet 2 of 4.  Show limits of fill and 	expansion area.

3.	Three houses on a private drive would require a Town Board waiver.

4.	Show size of wetland fill required.

Respectfully submitted,

McGoey, Hauser and Edsall

Consulting Engineers, P.C.

_________________________

Patrick J. Hines, Associate